## Data
SiteShortName | LocationShortName | InstallationDate | Planned Replacement Date | UnitPrice | Annual Maintenance Cost | ModelShortName
Royal Stoke University Hospital | West Building X-Ray | 2008-03-28 | 2015-03-28 | 47072.5 | 4420.01 | 4455887RH245 MULTIX H (X-RAY TABLE)
County Hospital | BREAST CARE UNIT | 2016-09-27 | 2023-09-27 | 20000 | 3185 | Affirm Breast Biopsy Guidance System
Royal Stoke University Hospital | Nuclear Medicine Gamma Camera | 2016-11-04 | 2021-11-04 | 300000 | MES | Symbia Intevo Excel1
Royal Stoke University Hospital | Nuclear Medicine | 2011-11-01 | 2021-11-01 | 0 | MES | SYMBIA T-SERIES
Royal Stoke University Hospital | Nuclear Medicine | 2012-02-01 | 2022-02-01 | 0 | MES | SYMBIA S-SERIES
Royal Stoke University Hospital | Hub X-Ray Room 2 | 2018-06-07 | 2025-06-07 | 25000 | MES | MAX MINI
Leek Moorlands Hosp | Leek Moor X-RAY Dept | 2014-02-06 | 2021-02-06 | 10000 | 2000 | REGIUS 110
Royal Stoke University Hospital | Hub X-Ray Room 2 | 2018-06-07 | 2025-06-07 | 35000 | MES | MAX WI-D
Royal Stoke University Hospital | Hub X-Ray Room 3 | 2011-11-01 | 2021-11-01 | 0 | MES | DRX EVOLUTION
Royal Stoke University Hospital | A&E X-RAY Emergency Room 1 | 2011-11-01 | 2021-11-01 | 0 | MES | DRX EVOLUTION
Royal Stoke University Hospital | A&E X-Ray Emergency Room 3 | 2011-11-01 | 2021-11-01 | 0 | MES | DRX EVOLUTION
Royal Stoke University Hospital | A&E X-RAY Emergency Room 2 | 2011-10-01 | 2021-10-01 | 0 | MES | DRX EVOLUTION
Royal Stoke University Hospital | Hub X-Ray Room 4 | 2011-11-01 | 2021-11-01 | 0 | MES | DRX EVOLUTION
Royal Stoke University Hospital | Lyme Building Main X-Ray | 2017-02-21 | 2024-02-21 | 125000 | 33366 | FDR VISIONARY SUITE
Royal Stoke University Hospital | Lyme Building X-Ray Waiting | 2019-03-05 | 2026-03-05 | 110788 | 2229 | FDR Go Plus
Royal Stoke University Hospital | West Building X-Ray | 2019-03-05 | 2026-03-05 | 110788 | 2229 | FDR Go Plus
Royal Stoke University Hospital | PICU Ward 215 | 2018-09-25 | 2025-09-25 | 89950 | 2229 | FDR Go Plus
County Hospital | CT Room 1 | 2014-11-04 | 2021-11-04 | 750000 | 73000 | AQUILION PRIME
Royal Stoke University Hospital | Hub X-Ray CT Room 4 | 2014-11-28 | 2024-11-28 | 75000 | MES | SOMATOM DEFINITION AS
Royal Stoke University Hospital | Hub X-Ray CT Room 3 - A&E | 2019-05-20 | 2029-05-20 | 0 | MES | SOMATOM Edge Plus
Royal Stoke University Hospital | Hub X-Ray CT Room 2 | 2019-03-14 | 2029-03-14 | 0 | MES | SOMATOM Edge Plus
Royal Stoke University Hospital | PET Scanner | 2013-02-21 | 2023-02-21 | 1550000 | 331233.93 | BIOGRAPH MCT 128-4R PET/CT
County Hospital | CT Room 2 | 2007-03-23 | 2014-03-23 | 750000 | 73000 | AQUILION 64
Royal Stoke University Hospital | Hub X-Ray CT Room 1 | 2019-01-04 | 2029-01-04 | 750000 | MES | SOMATOM DRIVE
Royal Stoke University Hospital | Gamma Camera 1 | 2012-02-01 | 2019-02-01 | 0 | MES | SYMBIA.NET SERVER (S)
Royal Stoke University Hospital | Spect CT | 2011-11-01 | 2018-11-01 | 0 | MES | SYMBIA.NET SERVER (T)
Royal Stoke University Hospital | Breast Care Report 2 | 2013-03-08 | 2020-03-08 | 0 | MES | SYNGO MAMMO REPORT
Royal Stoke University Hospital | Breast Care Report 1 | 2013-03-08 | 2020-03-08 | 0 | MES | SYNGO MAMMO REPORT
Royal Stoke University Hospital | Interventional Theatre 1 | 2016-03-31 | 2023-03-31 | 0 | 9259.81 | SYNGO X
Royal Stoke University Hospital | Cardio Cath Lab 1 | 2012-01-01 | 2019-01-01 | 0 | MES | SYNGO X
Royal Stoke University Hospital | Cardio Cath Lab 3 | 2012-02-01 | 2019-02-01 | 0 | MES | SYNGO X
Royal Stoke University Hospital | Cardio Cath Lab 4 | 2012-02-01 | 2019-02-01 | 0 | MES | SYNGO X
County Hospital | CARDIOLOGY SGH | 2015-01-09 | 2022-01-09 | 200 | 160.4 | R.TEST EVOLUTION 4
County Hospital | CARDIOLOGY OPD | 2019-03-13 | 2026-03-13 | 1979 | 160.4 | R.TEST EVOLUTION 4
County Hospital | CARDIOLOGY SGH | 2013-07-11 15:14 | 2020-07-11 15:14 | 200 | 160.4 | R.TEST EVOLUTION 4
County Hospital | CARDIOLOGY OPD | 2019-03-13 | 2026-03-13 | 1979 | 160.4 | R.TEST EVOLUTION 4
County Hospital | CARDIOLOGY SGH | 2014-11-28 | 2021-11-28 | 200 | 160.4 | R.TEST EVOLUTION 4
County Hospital | CARDIOLOGY OPD | 2019-03-13 | 2026-03-13 | 1979 | 160.4 | R.TEST EVOLUTION 4
County Hospital | CARDIOLOGY OPD | 2019-03-13 | 2026-03-13 | 1979 | 160.4 | R.TEST EVOLUTION 4
County Hospital | CARDIOLOGY OPD | 2019-03-13 | 2026-03-13 | 1979 | 160.4 | R.TEST EVOLUTION 4
County Hospital | CARDIOLOGY OPD | 2019-03-13 | 2026-03-13 | 1979 | 160.4 | R.TEST EVOLUTION 4
County Hospital | CARDIOLOGY OPD | 2019-03-13 | 2026-03-13 | 1979 | 160.4 | R.TEST EVOLUTION 4
County Hospital | CARDIOLOGY SGH | 2013-07-17 | 2020-07-17 | 200 | 160.4 | R.TEST EVOLUTION 4
County Hospital | CARDIOLOGY OPD | 2019-03-13 | 2026-03-13 | 1979 | 160.4 | R.TEST EVOLUTION 4
County Hospital | CARDIOLOGY SGH | 2013-07-17 | 2020-07-17 | 200 | 160.4 | R.TEST EVOLUTION 4
County Hospital | CARDIOLOGY SGH | 2013-07-11 | 2020-07-11 | 200 | 160.4 | R.TEST EVOLUTION 4
County Hospital | CARDIOLOGY SGH | 2013-07-17 | 2020-07-17 | 200 | 160.4 | R.TEST EVOLUTION 4
County Hospital | CARDIOLOGY SGH | 2012-06-27 | 2019-06-27 | 200 | 160.4 | R.TEST EVOLUTION 4
County Hospital | CARDIOLOGY SGH | 2012-06-27 | 2019-06-27 | 200 | 160.4 | R.TEST EVOLUTION 4
County Hospital | CARDIOLOGY SGH | 2012-06-27 | 2019-06-27 | 200 | 160.4 | R.TEST EVOLUTION 4
County Hospital | CARDIOLOGY SGH | 2015-04-27 14:49 | 2022-04-27 14:49 | 36200 | 5366.28 | PA-DIGITAL HOLTER SYSTEM
Royal Stoke University Hospital | Renal Workshop | 2012-04-19 | 2019-04-19 | 10250 | 1900 | 4008S FRESENIUS MEDICAL CARE (DIALYSIS MACHINE)
Royal Stoke University Hospital | Patient's Home | 2011-09-23 | 2018-09-23 | 10250 | 1900 | 4008S FRESENIUS MEDICAL CARE (DIALYSIS MACHINE)
Royal Stoke University Hospital | Patient's Home | 2012-02-24 | 2019-02-24 | 10000 | 1900 | 4008S FRESENIUS MEDICAL CARE (DIALYSIS MACHINE)
Royal Stoke University Hospital | Renal Workshop | 2012-02-14 | 2019-02-14 | 10000 | 1900 | 4008S FRESENIUS MEDICAL CARE (DIALYSIS MACHINE)
Royal Stoke University Hospital | Patient's Home | 2012-06-14 | 2019-06-14 | 10000 | 1900 | 4008S FRESENIUS MEDICAL CARE (DIALYSIS MACHINE)
Royal Stoke University Hospital | Patient's Home | 2012-03-07 | 2019-03-07 | 10000 | 1900 | 4008S FRESENIUS MEDICAL CARE (DIALYSIS MACHINE)
Royal Stoke University Hospital | Patient's Home | 2012-02-14 | 2019-02-14 | 10000 | 1900 | 4008S FRESENIUS MEDICAL CARE (DIALYSIS MACHINE)
Royal Stoke University Hospital | Renal Workshop | 2011-07-19 | 2018-07-19 | 10000 | 1900 | 4008S FRESENIUS MEDICAL CARE (DIALYSIS MACHINE)
Royal Stoke University Hospital | Renal Workshop | 2012-02-24 | 2019-02-24 | 10000 | 1900 | 4008S FRESENIUS MEDICAL CARE (DIALYSIS MACHINE)
Royal Stoke University Hospital | Patient's Home | 2012-04-19 | 2019-04-19 | 10250 | 1900 | 4008S FRESENIUS MEDICAL CARE (DIALYSIS MACHINE)
Royal Stoke University Hospital | Patient's Home | 2012-03-07 | 2019-03-07 | 10000 | 1900 | 4008S FRESENIUS MEDICAL CARE (DIALYSIS MACHINE)
Royal Stoke University Hospital | Renal Building | 2012-06-14 | 2019-06-14 | 10000 | 1900 | 4008S FRESENIUS MEDICAL CARE (DIALYSIS MACHINE)
Royal Stoke University Hospital | Renal Workshop | 2008-06-25 | 2015-06-25 | 10000 | 1900 | 4008S FRESENIUS MEDICAL CARE (DIALYSIS MACHINE)
Royal Stoke University Hospital | Renal Workshop | 2008-07-31 | 2015-07-31 | 10000 | 1900 | 4008S FRESENIUS MEDICAL CARE (DIALYSIS MACHINE)
County Hospital | RENAL DIALYSIS | 2008-07-31 | 2015-07-31 | 10000 | 1900 | 4008S FRESENIUS MEDICAL CARE (DIALYSIS MACHINE)
Royal Stoke University Hospital | Patient's Home | 2008-07-31 | 2015-07-31 | 10000 | 1900 | 4008S FRESENIUS MEDICAL CARE (DIALYSIS MACHINE)
County Hospital | RENAL DIALYSIS | 2008-07-31 | 2015-07-31 | 10000 | 1900 | 4008S FRESENIUS MEDICAL CARE (DIALYSIS MACHINE)
Royal Stoke University Hospital | Renal Workshop | 2008-07-31 | 2015-07-31 | 10000 | 1900 | 4008S FRESENIUS MEDICAL CARE (DIALYSIS MACHINE)
Royal Stoke University Hospital | Renal Workshop | 2008-07-31 | 2015-07-31 | 10000 | 1900 | 4008S FRESENIUS MEDICAL CARE (DIALYSIS MACHINE)
Royal Stoke University Hospital | Renal Workshop | 2008-12-29 | 2015-12-29 | 10000 | 1900 | 4008S FRESENIUS MEDICAL CARE (DIALYSIS MACHINE)
Royal Stoke University Hospital | Patient's Home | 2010-05-18 | 2017-05-18 | 10000 | 1900 | 4008S FRESENIUS MEDICAL CARE (DIALYSIS MACHINE)
Royal Stoke University Hospital | Renal Workshop | 2010-05-18 | 2017-05-18 | 10000 | 1900 | 4008S FRESENIUS MEDICAL CARE (DIALYSIS MACHINE)
Royal Stoke University Hospital | Clin Tech Storage | 2010-05-18 | 2017-05-18 | 10000 | 1900 | 4008S FRESENIUS MEDICAL CARE (DIALYSIS MACHINE)
Royal Stoke University Hospital | Patient's Home | 2010-05-18 | 2017-05-18 | 10000 | 1900 | 4008S FRESENIUS MEDICAL CARE (DIALYSIS MACHINE)
Royal Stoke University Hospital | Haemodialysis Unit | 2017-07-06 | 2024-07-06 | 11814 | 350 | 5008
Royal Stoke University Hospital | Haemodialysis Unit | 2017-05-30 | 2024-05-30 | 11814 | 350 | 5008
County Hospital | Stafford Sat Renal Wd 32 | 2016-08-01 | 2023-08-01 | 11814 | 350 | 5008
Royal Stoke University Hospital | Haemodialysis Unit | 2016-02-23 | 2023-02-23 | 11814 | 350 | 5008
Royal Stoke University Hospital | Haemodialysis Unit | 2016-02-23 | 2023-02-23 | 11814 | 350 | 5008
Royal Stoke University Hospital | Haemodialysis Unit | 2018-05-17 | 2025-05-17 | 11814 | 350 | 5008
Royal Stoke University Hospital | Haemodialysis Unit | 2018-05-17 | 2025-05-17 | 11814 | 350 | 5008
Royal Stoke University Hospital | Haemodialysis Unit | 2016-02-23 | 2023-02-23 | 11814 | 350 | 5008
Royal Stoke University Hospital | Ward 124 | 2016-08-01 | 2023-08-01 | 11814 | 350 | 5008
Royal Stoke University Hospital | Haemodialysis Unit | 2018-05-17 | 2025-05-17 | 11814 | 350 | 5008
Royal Stoke University Hospital | Haemodialysis Unit | 2016-08-01 | 2023-08-01 | 11814 | 350 | 5008
Royal Stoke University Hospital | Haemodialysis Unit | 2017-06-01 | 2024-06-01 | 11814 | 350 | 5008
County Hospital | Stafford Sat Renal Wd 32 | 2016-08-01 | 2023-08-01 | 11814 | 350 | 5008
Royal Stoke University Hospital | Haemodialysis Unit | 2016-08-01 | 2023-08-01 | 11814 | 350 | 5008
Royal Stoke University Hospital | Haemodialysis Unit | 2017-07-06 | 2024-07-06 | 11814 | 350 | 5008
County Hospital | Stafford Sat Renal Wd 32 | 2016-08-01 | 2023-08-01 | 11814 | 350 | 5008
Royal Stoke University Hospital | Haemodialysis Unit | 2017-07-06 | 2024-07-06 | 11814 | 350 | 5008
Royal Stoke University Hospital | Haemodialysis Unit | 2016-02-23 | 2023-02-23 | 11814 | 350 | 5008
County Hospital | Stafford Sat Renal Wd 32 | 2017-07-06 | 2024-07-06 | 11814 | 350 | 5008
Royal Stoke University Hospital | Haemodialysis Unit | 2016-02-23 | 2023-02-23 | 11814 | 350 | 5008
Royal Stoke University Hospital | Critical Care Unit | 2017-07-06 | 2024-07-06 | 11814 | 350 | 5008
County Hospital | Stafford Sat Renal Wd 32 | 2016-08-01 | 2023-08-01 | 11814 | 350 | 5008
Royal Stoke University Hospital | Ward 124 | 2017-07-06 | 2024-07-06 | 11814 | 350 | 5008
Royal Stoke University Hospital | Haemodialysis Unit | 2017-06-01 | 2024-06-01 | 11814 | 350 | 5008
Royal Stoke University Hospital | Haemodialysis Unit | 2016-02-23 | 2023-02-23 | 11814 | 350 | 5008
Royal Stoke University Hospital | Ward 124 | 2017-06-01 | 2024-06-01 | 11814 | 350 | 5008
Royal Stoke University Hospital | Haemodialysis Unit | 2016-02-23 | 2023-02-23 | 11814 | 350 | 5008
Royal Stoke University Hospital | Haemodialysis Unit | 2016-02-23 | 2023-02-23 | 11814 | 350 | 5008
County Hospital | Stafford Sat Renal Wd 32 | 2016-08-01 | 2023-08-01 | 11814 | 350 | 5008
Royal Stoke University Hospital | Ward 124 | 2017-06-01 | 2024-06-01 | 11814 | 350 | 5008
County Hospital | Stafford Sat Renal Wd 32 | 2017-07-06 | 2024-07-06 | 11814 | 350 | 5008
Royal Stoke University Hospital | Haemodialysis Unit | 2018-05-17 | 2025-05-17 | 11814 | 350 | 5008
Royal Stoke University Hospital | Haemodialysis Unit | 2016-02-23 | 2023-02-23 | 11814 | 350 | 5008
Royal Stoke University Hospital | Haemodialysis Unit | 2016-02-23 | 2023-02-23 | 11814 | 350 | 5008
Royal Stoke University Hospital | Haemodialysis Unit | 2016-02-23 | 2023-02-23 | 11814 | 350 | 5008
County Hospital | Stafford Sat Renal Wd 32 | 2016-08-01 | 2023-08-01 | 11814 | 350 | 5008
Royal Stoke University Hospital | Haemodialysis Unit | 2016-02-23 | 2023-02-23 | 11814 | 350 | 5008
Royal Stoke University Hospital | Haemodialysis Unit | 2017-07-06 | 2024-07-06 | 11814 | 350 | 5008
Royal Stoke University Hospital | Haemodialysis Unit | 2016-02-23 | 2023-02-23 | 11814 | 350 | 5008
Royal Stoke University Hospital | Haemodialysis Unit | 2017-07-06 | 2024-07-06 | 11814 | 350 | 5008
Royal Stoke University Hospital | Haemodialysis Unit | 2016-02-23 | 2023-02-23 | 11814 | 350 | 5008
Royal Stoke University Hospital | Haemodialysis Unit | 2016-08-01 | 2023-08-01 | 11814 | 350 | 5008
County Hospital | Stafford Sat Renal Wd 32 | 2016-08-01 | 2023-08-01 | 11814 | 350 | 5008
County Hospital | Stafford Sat Renal Wd 32 | 2016-08-01 | 2023-08-01 | 11814 | 350 | 5008
County Hospital | Stafford Sat Renal Wd 32 | 2016-08-01 | 2023-08-01 | 11814 | 350 | 5008
Royal Stoke University Hospital | Ward 124 | 2017-07-06 | 2024-07-06 | 11814 | 350 | 5008
Royal Stoke University Hospital | Haemodialysis Unit | 2018-05-17 | 2025-05-17 | 11814 | 350 | 5008
Royal Stoke University Hospital | Haemodialysis Unit | 2016-08-01 | 2023-08-01 | 11814 | 350 | 5008
Royal Stoke University Hospital | Ward 124 | 2016-08-01 | 2023-08-01 | 11814 | 350 | 5008
Royal Stoke University Hospital | Haemodialysis Unit | 2017-07-06 | 2024-07-06 | 11814 | 350 | 5008
Royal Stoke University Hospital | Haemodialysis Unit | 2017-06-01 | 2024-06-01 | 11814 | 350 | 5008
Royal Stoke University Hospital | Haemodialysis Unit | 2016-02-23 | 2023-02-23 | 11814 | 350 | 5008
Royal Stoke University Hospital | Ward 124 | 2016-08-01 | 2023-08-01 | 11814 | 350 | 5008
Royal Stoke University Hospital | Haemodialysis Unit | 2016-08-01 | 2023-08-01 | 11814 | 350 | 5008
Royal Stoke University Hospital | Haemodialysis Unit | 2016-02-23 | 2023-02-23 | 11814 | 350 | 5008
Royal Stoke University Hospital | Haemodialysis Unit | 2017-05-30 | 2024-05-30 | 11814 | 350 | 5008
Royal Stoke University Hospital | Haemodialysis Unit | 2016-02-23 | 2023-02-23 | 11814 | 350 | 5008
Royal Stoke University Hospital | Ward 124 | 2016-08-01 | 2023-08-01 | 11814 | 350 | 5008
Royal Stoke University Hospital | Haemodialysis Unit | 2017-07-06 | 2024-07-06 | 11814 | 350 | 5008
Royal Stoke University Hospital | Haemodialysis Unit | 2017-05-30 | 2024-05-30 | 11814 | 350 | 5008
Royal Stoke University Hospital | Haemodialysis Unit | 2017-07-06 | 2024-07-06 | 11814 | 350 | 5008
County Hospital | Stafford Sat Renal Wd 32 | 2016-08-01 | 2023-08-01 | 11814 | 350 | 5008
Royal Stoke University Hospital | Haemodialysis Unit | 2016-02-23 | 2023-02-23 | 11814 | 350 | 5008
Royal Stoke University Hospital | Ward 124 | 2017-07-06 | 2024-07-06 | 11814 | 350 | 5008
Royal Stoke University Hospital | Haemodialysis Unit | 2016-02-23 | 2023-02-23 | 11814 | 350 | 5008
Royal Stoke University Hospital | Haemodialysis Unit | 2016-02-23 | 2023-02-23 | 11814 | 350 | 5008
Royal Stoke University Hospital | Ward 124 | 2016-08-01 | 2023-08-01 | 11814 | 350 | 5008
Royal Stoke University Hospital | Haemodialysis Unit | 2016-08-01 | 2023-08-01 | 11814 | 350 | 5008
Royal Stoke University Hospital | Haemodialysis Unit | 2018-05-17 | 2025-05-17 | 11814 | 350 | 5008
County Hospital | Stafford Sat Renal Wd 32 | 2016-08-01 | 2023-08-01 | 11814 | 350 | 5008
Royal Stoke University Hospital | Haemodialysis Unit | 2017-06-01 | 2024-06-01 | 11814 | 350 | 5008
Royal Stoke University Hospital | Critical Care Unit | 2017-07-06 | 2024-07-06 | 11814 | 350 | 5008
Royal Stoke University Hospital | Haemodialysis Unit | 2018-05-17 | 2025-05-17 | 11814 | 350 | 5008
County Hospital | Stafford Sat Renal Wd 32 | 2016-08-01 | 2023-08-01 | 11814 | 350 | 5008
Royal Stoke University Hospital | Haemodialysis Unit | 2016-08-01 | 2023-08-01 | 11814 | 350 | 5008
Royal Stoke University Hospital | Haemodialysis Unit | 2017-07-06 | 2024-07-06 | 11814 | 350 | 5008
Royal Stoke University Hospital | Haemodialysis Unit | 2019-04-04 | 2029-04-04 | 12500 | 1900 | 5008S
Royal Stoke University Hospital | Patient's Home | 2013-04-25 | 2023-04-25 | 11200 | 1900 | 5008S
Royal Stoke University Hospital | Haemodialysis Unit | 2017-07-06 | 2027-07-06 | 11814 | 1900 | 5008S
Royal Stoke University Hospital | Patient's Home | 2014-11-11 | 2024-11-11 | 11415 | 1900 | 5008S
Royal Stoke University Hospital | Haemodialysis Unit | 2018-11-01 | 2028-11-01 | 11814 | 1900 | 5008S
Royal Stoke University Hospital | Haemodialysis Unit | 2017-07-06 | 2027-07-06 | 11814 | 1900 | 5008S
Royal Stoke University Hospital | Patient's Home | 2015-01-08 | 2025-01-08 | 11415 | 1900 | 5008S
Royal Stoke University Hospital | Renal Workshop | 2014-09-03 | 2024-09-03 | 14800 | 1900 | 5008S
Royal Stoke University Hospital | Patient's Home | 2013-11-20 | 2023-11-20 | 11200 | 1900 | 5008S
Royal Stoke University Hospital | Patient's Home | 2013-07-25 | 2023-07-25 | 11200 | 1900 | 5008S
Royal Stoke University Hospital | Patient's Home | 2015-08-24 | 2025-08-24 | 11415 | 1900 | 5008S
Royal Stoke University Hospital | Patient's Home | 2013-11-20 | 2023-11-20 | 11200 | 1900 | 5008S
Royal Stoke University Hospital | Patient's Home | 2013-07-18 | 2023-07-18 | 11200 | 1900 | 5008S
Royal Stoke University Hospital | Haemodialysis Unit | 2018-11-01 | 2028-11-01 | 11814 | 1900 | 5008S
Royal Stoke University Hospital | Patient's Home | 2013-03-11 | 2023-03-11 | 11200 | 1900 | 5008S
Royal Stoke University Hospital | Patient's Home | 2014-02-04 | 2024-02-04 | 14000 | 1900 | 5008S
Royal Stoke University Hospital | Patient's Home | 2013-07-25 | 2023-07-25 | 11200 | 1900 | 5008S
Royal Stoke University Hospital | Kidney Unit | 2016-08-01 | 2026-08-01 | 11415 | 1900 | 5008S
Royal Stoke University Hospital | Patient's Home | 2016-08-01 | 2026-08-01 | 11415 | 1900 | 5008S
Royal Stoke University Hospital | Patient's Home | 2014-01-09 | 2024-01-09 | 11200 | 1900 | 5008S
Royal Stoke University Hospital | Patient's Home | 2013-03-04 | 2023-03-04 | 11200 | 1900 | 5008S
Royal Stoke University Hospital | Haemodialysis Unit | 2016-08-01 | 2026-08-01 | 11415 | 1900 | 5008S
Royal Stoke University Hospital | Patient's Home | 2013-02-27 | 2023-02-27 | 11200 | 1900 | 5008S
Royal Stoke University Hospital | Haemodialysis Unit | 2019-04-03 | 2029-04-03 | 11415 | 1900 | 5008S
Royal Stoke University Hospital | Haemodialysis Unit | 2017-07-06 | 2027-07-06 | 11814 | 1900 | 5008S
Royal Stoke University Hospital | Patient's Home | 2013-03-11 | 2023-03-11 | 11200 | 1900 | 5008S
Royal Stoke University Hospital | Haemodialysis Unit | 2017-07-06 | 2027-07-06 | 11814 | 1900 | 5008S
Royal Stoke University Hospital | Haemodialysis Unit | 2018-11-01 | 2028-11-01 | 11814 | 1900 | 5008S
Royal Stoke University Hospital | Patient's Home | 2014-06-27 | 2024-06-27 | 11415 | 1900 | 5008S
Royal Stoke University Hospital | Patient's Home | 2013-02-27 | 2023-02-27 | 11200 | 1900 | 5008S
Royal Stoke University Hospital | Haemodialysis Unit | 2019-04-03 | 2029-04-03 | 11415 | 1900 | 5008S
Royal Stoke University Hospital | Renal Workshop | 2014-11-11 | 2024-11-11 | 11415 | 1900 | 5008S
Royal Stoke University Hospital | Haemodialysis Unit | 2017-07-06 | 2027-07-06 | 11814 | 1900 | 5008S
Royal Stoke University Hospital | Haemodialysis Unit | 2019-04-03 | 2029-04-03 | 11415 | 1900 | 5008S
Royal Stoke University Hospital | Patient's Home | 2014-09-03 | 2024-09-03 | 14800 | 1900 | 5008S
County Hospital | MRI Room 2 | 2017-03-21 | 2027-03-21 | 1064817.14 | 223408.1 | MAGNETOM SKYRA 3T
Royal Stoke University Hospital | MRI Room 1 | 2011-12-01 | 2021-12-01 | 0 | MES | MAGNETOM SKYRA 3T
Royal Stoke University Hospital | MRI Room 3 | 2019-06-18 | 2029-06-18 | 1064817 | MES | MAGNETOM VIDA
Royal Stoke University Hospital | MRI Room 2 | 2019-03-14 | 2029-03-14 | 1064817 | MES | MAGNETOM SOLA
Royal Stoke University Hospital | MRI Room 4 | 2016-01-22 | 2026-01-22 | 840000 | MES | MAGNETOM AERA 1.5T
Royal Stoke University Hospital | MRI Room 5 | 2016-11-04 | 2026-11-04 | 840000 | MES | MAGNETOM AERA 1.5T
County Hospital | MRI Room 1 | 2016-05-11 | 2026-05-11 | 840000 | 223408.1 | MAGNETOM AERA 1.5T
County Hospital | THEATRES | 2015-06-12 | 2022-06-12 | 55319.15 | 9297.26 | Ziehm Vision Mobile C-Arm
Royal Stoke University Hospital | Modular Theatres 11-12 | 2019-04-03 | 2026-04-03 | 81111.55 | 8672.36 | Ziehm Vision Mobile C-Arm
Royal Stoke University Hospital | Hub Theatres 20-33 | 2017-03-15 | 2024-03-15 | 55319.15 | 8672.36 | Ziehm Vision Mobile C-Arm
Royal Stoke University Hospital | Hub Theatres 20-33 | 2018-09-06 | 2025-09-06 | 66031.08 | 6703.5 | Ziehm Vision Mobile C-Arm
Royal Stoke University Hospital | Cardio Cath Lab 4 | 2012-02-01 | 2019-02-01 | 0 | MES | SENSIS XP
Royal Stoke University Hospital | Cardio Cath Lab 3 | 2012-02-01 | 2019-02-01 | 0 | MES | SENSIS XP
Royal Stoke University Hospital | Cardio Cath Lab 1 | 2012-01-01 | 2019-01-01 | 0 | MES | SENSIS XP
Royal Stoke University Hospital | Cardio Cath Lab 2 | 2017-12-04 | 2024-12-04 | 0 | MES | SENSIS XP
Royal Stoke University Hospital | Breast Care Clinic | 2015-02-24 | 2025-02-24 | 65000 | 7000 | TRIDENT RC
Leek Moorlands Hosp | Leek Moor X-RAY Dept | 2006-03-22 | 2016-03-22 | 62500 | 4576.42 | OPTIMUS 50 OPTIMUS 50 (BUCKY DIAGNOST TH + OPTIMUS
Haywood Hospital | Haywood X-RAY | 2004-04-08 | 2014-04-08 | 22600 | 1230 | 2275938 AMX-4 (MOBILE X-RAY UNIT)
Royal Stoke University Hospital | Lyme Building Main X-Ray | 2004-06-28 | 2014-06-28 | 24755.1 | 1230 | 2275938 AMX-4 (MOBILE X-RAY UNIT)
Royal Stoke University Hospital | West Building X-Ray | 2006-09-15 | 2016-09-15 | 22600 | 1230 | 2275938 AMX-4 (MOBILE X-RAY UNIT)
Royal Stoke University Hospital | Ward 201 (Inpatients) | 2007-11-19 | 2017-11-19 | 26058 | 1230 | 2275938 AMX-4 (MOBILE X-RAY UNIT)
Hanley Breast Screen | Hanley Breast X-RAY Room 1 | 2015-06-12 | 2025-06-12 | 150000 | 14700 | DIMENSION MAMMOGRAPHY X-RAY UNIT
County Hospital | Mammography Room 1 | 2015-06-12 | 2025-06-12 | 150000 | 22050 | DIMENSION MAMMOGRAPHY X-RAY UNIT
Royal Stoke University Hospital | HBSC MOBILE VAN | 2015-06-12 | 2025-06-12 | 150000 | 14700 | DIMENSION MAMMOGRAPHY X-RAY UNIT
County Hospital | Mammography Room 2 | 2015-06-12 | 2025-06-12 | 150000 | 14700 | DIMENSION MAMMOGRAPHY X-RAY UNIT
Hanley Breast Screen | Hanley Breast X-RAY Room 2 | 2015-06-12 | 2025-06-12 | 150000 | 14700 | DIMENSION MAMMOGRAPHY X-RAY UNIT
Cobridge Community Health Centre | Cobridge C/H/C X-Ray | 2013-01-18 | 2020-01-18 | 150000 | 17918.99 | YSIO
Haywood Hospital | Haywood X-RAY | 2009-07-01 | 2016-07-01 | 150000 | MES | YSIO
Royal Stoke University Hospital | Hub X-Ray Room 2 | 2018-06-07 | 2025-06-07 | 750000 | MES | YSIO MAX
County Hospital | X-Ray Room 5 | 2014-12-05 | 2021-12-05 | 150000 | 92126.58 | YSIO MAX
Haywood Hospital | Haywood Walk In Centre | 2014-11-05 | 2021-11-05 | 150000 | MES | YSIO MAX
County Hospital | X-Ray Room 4 | 2010-01-01 | 2020-01-01 | 0 | 38335.79 | LUMINOS DRF
Royal Stoke University Hospital | Hub X-Ray Screening Room 2 | 2011-11-01 | 2021-11-01 | 0 | MES | LUMINOS DRF
Royal Stoke University Hospital | Hub Theatres 20-33 | 2008-04-21 | 2018-04-21 | 50559.8972 | WARRANTY | IMAGE INTENSIFIER Mobile C-arm
Royal Stoke University Hospital | Hub Theatres 20-33 | 2014-12-15 | 2024-12-15 | 79288 | 24400.86 | ARCADIS VARIC Mobile C-arm
Royal Stoke University Hospital | Theatres 1-5 | 2012-09-26 | 2022-09-26 | 68631 | 30624.97 | ARCADIS VARIC Mobile C-arm
Royal Stoke University Hospital | Modular Theatres 11-12 | 2015-11-18 | 2025-11-18 | 79288 | 24400.86 | ARCADIS VARIC Mobile C-arm
Royal Stoke University Hospital | Hub Theatres 20-33 | 2009-02-26 | 2019-02-26 | 79288 | 19001.66 | ARCADIS VARIC Mobile C-arm
Royal Stoke University Hospital | Neuro X-Ray | 2009-11-23 | 2019-11-23 | 725000 | 78387.26 | FD20 BIPLANE XRAY SCREENING ROOM
County Hospital | Mammography Room 2 | 2015-06-12 | 2025-06-12 | 40000 | 4405 | COREVISION Specimen Cabinet
Royal Stoke University Hospital | A&E Resus Dept | 2013-05-10 | 2023-05-10 | 100000 | MES | DRX-1 SYSTEM
Royal Stoke University Hospital | Lyme Building X-Ray Room 5 | 2014-08-22 | 2024-08-22 | 0 | 134264.64 | ARTIS ZEE MULTI-PURPOSE
Royal Stoke University Hospital | West Building X-Ray | 2016-03-16 | 2026-03-16 | 100000 | 7814 | DRX-M51
Haywood Hospital | Haywood X-RAY | 2016-03-16 | 2026-03-16 | 100000 | 7814 | DRX-M51
Royal Stoke University Hospital | Endoscopy Treatment Rm2 | 2012-03-06 | 2022-03-06 | 106416 | 4907.87 | BV PULSERA 12'' Mobile C-arm
Longton Cottage Hospital | Longton Cottage Hospital X-Ray | 2019-04-01 | 2026-04-01 | 61000 | 5000 | MAGNUM H DIAGNOSTIC X-RAY SYSTEM
Royal Stoke University Hospital | Cardio Cath Lab 2 | 2015-02-14 | 2025-02-14 | 0 | MES | ARTIS ZEE FLOOR
Royal Stoke University Hospital | Cardio Cath Lab 4 | 2012-02-01 | 2022-02-01 | 0 | MES | ARTIS ZEE FLOOR
Royal Stoke University Hospital | Cardio Cath Lab 1 | 2012-01-01 | 2022-01-01 | 0 | MES | ARTIS ZEE FLOOR
Royal Stoke University Hospital | Cardio Cath Lab 3 | 2012-02-01 | 2022-02-01 | 0 | MES | ARTIS ZEE FLOOR
Royal Stoke University Hospital | Fracture Clinic Room 2 | 2012-05-01 | 2022-05-01 | 0 | MES | DIAGNOSTIC VM
Royal Stoke University Hospital | Fracture Clinic Room 1 | 2012-05-01 | 2022-05-01 | 0 | MES | DIAGNOSTIC VM
County Hospital | X-Ray Room 3 | 2010-01-01 | 2020-01-01 | 160000 | 136979.52 | DISCOVERY XR656 FIXED X-RAY
County Hospital | X-Ray Room 2 | 2010-01-01 | 2020-01-01 | 160000 | 136979.52 | DISCOVERY XR656 FIXED X-RAY
Royal Stoke University Hospital | Modular Theatres 11-12 | 2018-08-30 | 2028-08-30 | 49891.67 | WARRANTY | Fluoroscan InSight FD
Royal Stoke University Hospital | Neonatal Intensive Care Unit | 2017-02-01 | 2027-02-01 | 74995.25 | 25793 | FDR GO MOBILE
Royal Stoke University Hospital | A&E X-RAY | 2017-02-01 | 2027-02-01 | 74995.25 | 25793 | FDR GO MOBILE
Royal Stoke University Hospital | A&E X-RAY | 2019-03-05 | 2029-03-05 | 50000 | WARRANTY | FDR NANO (DR-XD 1000 MBL E)
Royal Stoke University Hospital | Hub X-Ray | 2019-03-05 | 2029-03-05 | 50000 | WARRANTY | FDR NANO (DR-XD 1000 MBL E)
Royal Stoke University Hospital | Interventional Theatre 1 | 2014-12-08 | 2024-12-08 | 925000 | 219509.16 | ARTIS ZEEGO Q
County Hospital | THEATRES | 2016-12-16 | 2026-12-16 | 83000 | 10054 | Veradius FPD Neo
County Hospital | X-RAY | 2017-03-15 | 2027-03-15 | 83000 | 10054 | Veradius FPD Neo
County Hospital | X-RAY | 2015-03-03 | 2025-03-03 | 90000 | 18315 | OPTIMA XR220 MOBILE X-RAY
Royal Stoke University Hospital | Critical Care Unit | 2015-11-19 | 2025-11-19 | 90000 | 18315 | OPTIMA XR220 MOBILE X-RAY
County Hospital | X-RAY | 2010-01-01 | 2020-01-01 | 90000 | 18315 | OPTIMA XR220 MOBILE X-RAY
Royal Stoke University Hospital | Hub Theatres 20-33 | 2010-03-03 | 2020-03-03 | 110000 | MES | ARCADIS ORBIC - Mobile C-arm
Royal Stoke University Hospital | Hub Theatres 20-33 | 2012-03-23 | 2022-03-23 | 75067.0043 | 4907.87 | BV PULSERA 9'' Mobile C-arm
Royal Stoke University Hospital | Cardio Catheter Lab | 2016-01-27 | 2023-01-27 | 65000 | WARRANTY | S5 IVUS MACHINE
Royal Stoke University Hospital | Interventional Theatre 1 | 2017-01-17 | 2024-01-17 | 65000 | WARRANTY | S5 IVUS MACHINE
Royal Stoke University Hospital | Breast Care Clinic | 2012-08-06 | 2019-08-06 | 78170 | 24364.49 | APLIO 400
Royal Stoke University Hospital | Heart and Lung Clinic | 2015-09-02 | 2022-09-02 | 73000 | 4324.5 | VIVID E95
Royal Stoke University Hospital | Heart and Lung Clinic | 2015-09-03 | 2022-09-03 | 73000 | 4324.5 | VIVID E95
Royal Stoke University Hospital | Renal Building | 2016-09-05 | 2023-09-05 | 30000 | WARRANTY | Sonosite EDGE II
County Hospital | THEATRES | 2017-03-10 | 2024-03-10 | 30000 | WARRANTY | Sonosite EDGE II
County Hospital | FRACTURE CLINIC | 2017-04-18 | 2024-04-18 | 30000 | WARRANTY | Sonosite EDGE II
Royal Stoke University Hospital | Maternity Theatre | 2018-03-21 | 2025-03-21 | 32077.2 | WARRANTY | Sonosite EDGE II
Royal Stoke University Hospital | Orthopaedic Outpatients | 2016-09-05 | 2023-09-05 | 30000 | WARRANTY | Sonosite EDGE II
Royal Stoke University Hospital | Pain Clinic | 2018-10-16 | 2025-10-16 | 27000 | WARRANTY | Sonosite EDGE II
Royal Stoke University Hospital | Maternity Ultrasound | 2015-11-09 | 2022-11-09 | 70000 | 24364.49 | APLIO 300
County Hospital | Diagnostic Scan Room 1 | 2015-11-23 | 2022-11-23 | 70000 | 24364.49 | APLIO 300
Royal Stoke University Hospital | Lyme Building Ultrasound Room 1 | 2017-03-21 | 2024-03-21 | 70000 | 20785.36 | APLIO 300
County Hospital | Diagnostic Scan Room 2 | 2015-11-23 | 2022-11-23 | 70000 | 24364.49 | APLIO 300
Royal Stoke University Hospital | Early Pregnancy Unit | 2015-11-23 | 2022-11-23 | 50000 | 24364.49 | Xario 200 Diagnostic Ultrasound
Royal Stoke University Hospital | A&E Ultrasound | 2016-10-24 | 2021-10-24 | 90000 | 5273.2 | EPIQ 5
County Hospital | VASCULAR LAB | 2013-12-23 | 2018-12-23 | 90000 | 2631.6 | EPIQ 5
Royal Stoke University Hospital | Interventional Recovery | 2014-12-17 | 2021-12-17 | 80000 | 16770.1 | ACUSON S1000
County Hospital | X-RAY ULTRASOUND SCANNING ROOM | 2013-02-05 | 2020-02-05 | 80000 | 14092.09 | ACUSON S1000
County Hospital | AMU | 2013-07-11 | 2020-07-11 | 30000 | 383.51 | Sonosite EDGE
Haywood Hospital | Haywood X-RAY | 2018-10-03 | 2025-10-03 | 75000 | WARRANTY | LOGIQ E10
Royal Stoke University Hospital | Theatre 30 - Cardio Thoracic | 2016-09-05 | 2023-09-05 | 14870.75 | WARRANTY | SONOSITE SII Portable Ultrasound
Royal Stoke University Hospital | A&E Unit | 2017-10-02 | 2024-10-02 | 11000 | WARRANTY | SONOSITE SII Portable Ultrasound
County Hospital | Stafford Sat Renal Wd 32 | 2018-11-20 | 2025-11-20 | 25000 | WARRANTY | SONOSITE SII Portable Ultrasound
Royal Stoke University Hospital | Hub Theatres 20-33 | 2019-07-02 | 2026-07-02 | 0 | WARRANTY | SONOSITE SII Portable Ultrasound
Royal Stoke University Hospital | Critical Care Unit - Pod 1 | 2016-09-05 | 2023-09-05 | 14870.75 | WARRANTY | SONOSITE SII Portable Ultrasound
Royal Stoke University Hospital | Theatre 31 - Cardio Thoracic | 2016-09-05 | 2023-09-05 | 14870.75 | WARRANTY | SONOSITE SII Portable Ultrasound
Royal Stoke University Hospital | Theatre 32 - Cardio Thoracic | 2016-09-05 | 2023-09-05 | 14870.75 | WARRANTY | SONOSITE SII Portable Ultrasound
Royal Stoke University Hospital | Central Treatment Suite (CTS) | 2018-11-26 | 2025-11-26 | 24000 | WARRANTY | SONOSITE SII Portable Ultrasound
County Hospital | CHEMO DGH | 2018-06-21 | 2023-06-21 | 16000 | WARRANTY | Site - Rite 8
Royal Stoke University Hospital | Ward 218 | 2019-03-29 | 2024-03-29 | 22800.16 | WARRANTY | Site - Rite 8
Royal Stoke University Hospital | Ward 201 (Haemotology) | 2017-08-09 | 2022-08-09 | 19606.16 | WARRANTY | Site - Rite 8
County Hospital | CHEMO DGH | 2018-10-04 | 2023-10-04 | 16000 | WARRANTY | Site - Rite 8
Royal Stoke University Hospital | A&E Resus Dept | 2019-06-05 | 2026-06-05 | 50000 | WARRANTY | VENUE R2.5
Royal Stoke University Hospital | AAA Screening Office | 2018-10-03 | 2025-10-03 | 32000 | WARRANTY | My Lab Alpha
Royal Stoke University Hospital | AAA Screening Office | 2019-03-06 | 2026-03-06 | 21500 | WARRANTY | My Lab Alpha
Royal Stoke University Hospital | AAA Screening Office | 2019-03-06 | 2026-03-06 | 21500 | WARRANTY | My Lab Alpha
Royal Stoke University Hospital | AAA Screening Office | 2019-03-06 | 2026-03-06 | 21500 | WARRANTY | My Lab Alpha
Royal Stoke University Hospital | Maternity Ultrasound | 2016-01-08 | 2023-01-08 | 35400 | 4218.56 | ELITE WS 80 DIAGNOSTIC ULTRASOUND SCANNER
County Hospital | THEATRES | 2014-09-04 | 2021-09-04 | 37000 | 2401 | LOGIQ E VASCULAR
Royal Stoke University Hospital | Heart and Lung Clinic | 2017-03-30 | 2024-03-30 | 50000 | 2401 | VIVID S70
Royal Stoke University Hospital | Heart and Lung Clinic | 2018-04-06 | 2025-04-06 | 40000 | 2401 | VIVID S70
Royal Stoke University Hospital | PICU Ward 215 | 2017-03-30 | 2024-03-30 | 60000 | 2401 | VIVID S70
Royal Stoke University Hospital | Lyme Building Ultrasound Room 4 | 2019-03-29 | 2026-03-29 | 79943.43 | WARRANTY | BK3000 ULTRASOUND SYSTEM
Royal Stoke University Hospital | Hub Theatres 20-33 | 2013-03-12 | 2020-03-12 | 20348 | 383.51 | S-NERVE
Royal Stoke University Hospital | Theatres 6-10 | 2009-10-31 | 2016-10-31 | 20500 | 383.51 | S-NERVE
Royal Stoke University Hospital | Neonatal Intensive Care Unit | 2017-08-01 | 2024-08-01 | 50169.25 | 2322 | AFFINITI ULTRASOUND SYSTEM
Royal Stoke University Hospital | Ward 113 | 2018-06-29 | 2025-06-29 | 20000 | 1230.41 | VENUE 50
Royal Stoke University Hospital | Ward 113 | 2015-07-15 | 2022-07-15 | 27000 | 2636.61 | VENUE 50
Royal Stoke University Hospital | Breast Care Clinic | 2016-06-15 | 2023-06-15 | 110000 | 21340.8 | A500 APLIO
Royal Stoke University Hospital | Critical Care Unit | 2018-06-27 | 2025-06-27 | 58000 | WARRANTY | VENUE R1
County Hospital | X-RAY ULTRASOUND SCANNING ROOM | 2014-01-14 | 2024-01-14 | 92000 | 24364.49 | APLIO 400
Royal Stoke University Hospital | Heart and Lung Clinic | 2018-04-03 | 2025-04-03 | 89940 | 3339.72 | VIVID iq
Royal Stoke University Hospital | Hub Ultrasound Room 3 | 2017-05-19 | 2024-05-19 | 80000 | MES | ACUSON S2000
Royal Stoke University Hospital | Hub Ultrasound Room 2 | 2017-05-19 | 2024-05-19 | 80000 | MES | ACUSON S2000
Royal Stoke University Hospital | Hub Ultrasound Room 1 | 2017-05-19 | 2024-05-19 | 80000 | MES | ACUSON S2000
Royal Stoke University Hospital | Hub Ultrasound Room 4 | 2017-05-19 | 2024-05-19 | 80000 | MES | ACUSON S2000
Royal Stoke University Hospital | Ward 120 (AMU) | 2013-03-27 | 2020-03-27 | 22500 | 4218.56 | VIVID S5
Royal Stoke University Hospital | A&E Resus Dept | 2013-03-27 | 2020-03-27 | 22500 | 4218.56 | VIVID S5
Royal Stoke University Hospital | Maternity Assessment Unit | 2018-12-12 | 2023-12-12 | 50000 | 3163.92 | VOLUSON i
Royal Stoke University Hospital | Maternity Assessment Unit | 2014-09-10 | 2019-09-10 | 37000 | 3163.92 | VOLUSON i
Bentilee Neighbourhood Centre | Bentilee Centre Close To Home Unit | 2011-12-01 | 2018-12-01 | 76611.88 | 2157.22 | IU22 ULTRASOUND
Royal Stoke University Hospital | Breast Care Clinic | 2011-12-01 | 2018-12-01 | 76611.88 | 2157.22 | IU22 ULTRASOUND
Royal Stoke University Hospital | Lyme Building Ultrasound Room 4 | 2011-12-01 | 2018-12-01 | 76611.88 | 2157.22 | IU22 ULTRASOUND
Royal Stoke University Hospital | Ward 124 | 2014-11-28 | 2021-11-28 | 76611.88 | 2157.22 | IU22 ULTRASOUND
Royal Stoke University Hospital | Lyme Building Ultrasound Room 2 | 2010-10-19 | 2017-10-19 | 72870 | 2696.52 | IU22 ULTRASOUND
Royal Stoke University Hospital | Vascular Lab | 2009-10-14 | 2016-10-14 | 57801.38 | 2157.22 | IU22 ULTRASOUND
Royal Stoke University Hospital | Interventional Theatre 2 | 2009-10-14 | 2016-10-14 | 62111.6 | 6300 | IU22 ULTRASOUND
Royal Stoke University Hospital | Lyme Building Ultrasound Room 3 | 2010-02-22 | 2017-02-22 | 64351.88 | 6300 | IU22 ULTRASOUND
Royal Stoke University Hospital | A&E Ultrasound | 2010-02-22 | 2017-02-22 | 76611.88 | 2157.22 | IU22 ULTRASOUND
Royal Stoke University Hospital | Theatres 6-10 | 2005-01-05 | 2012-01-05 | 12543.75 | 245 | P01576-08 SONOSITE 180 PLUS (PORTABLE ULTRASOUND U
Royal Stoke University Hospital | Theatres 1-5 | 2005-01-05 | 2012-01-05 | 12543.75 | 245 | P01576-08 SONOSITE 180 PLUS (PORTABLE ULTRASOUND U
County Hospital | CARDIOLOGY SGH | 2011-10-24 | 2016-10-24 | 120000 | 4602.06 | VIVID E9
County Hospital | X-RAY ULTRASOUND SCANNING ROOM | 2007-11-01 | 2012-11-01 | 100000 | 383.51 | SSA 790 APLIO
County Hospital | X-RAY ULTRASOUND SCANNING ROOM | 2010-10-01 | 2015-10-01 | 95000 | 383.51 | APLIO MX
County Hospital | Diagnostic Scan Room 1 | 2009-09-29 | 2014-09-29 | 50000 | 383.51 | SSA-680A XARIO XG
County Hospital | BRONCH THEATRE | 2007-04-13 | 2012-04-13 | 12750 | 507.6 | TITAN
Royal Stoke University Hospital | Theatres 1-5 | 2017-03-30 | 2022-03-30 | 12500 | 4676 | PREIRUS
County Hospital | X-Ray Room 4 | 2011-10-01 | 2016-10-01 | 12500 | 4698 | PREIRUS
County Hospital | Breastcare Ultrasound Room 1 | 2015-07-01 | 2020-07-01 | 57000 | 2109.28 | LOGIQ S8
County Hospital | Breastcare Ultrasound Room 2 | 2015-08-28 | 2020-08-28 | 160000 | 4242 | LOGIQ S8
Royal Stoke University Hospital | AAA Screening Office | 2012-01-09 | 2019-01-09 | 33000 | 2109.28 | LOGIQ E
Royal Stoke University Hospital | AAA Screening Office | 2012-01-09 | 2019-01-09 | 33000 | 2109.28 | LOGIQ E
Royal Stoke University Hospital | Clinical Technology Dept | 2012-01-09 | 2019-01-09 | 33000 | 2109.28 | LOGIQ E
Royal Stoke University Hospital | Clin Tech Loan | 2016-03-31 | 2023-03-31 | 33000 | 2109.28 | LOGIQ E
County Hospital | A&E - County | 2015-07-06 | 2022-07-06 | 33000 | 2109.28 | LOGIQ E
Royal Stoke University Hospital | Maternity Centre | 2012-11-06 | 2019-11-06 | 18500 | 2109.28 | LOGIQ E
Royal Stoke University Hospital | AAA Screening Office | 2012-01-09 | 2019-01-09 | 33000 | 2109.28 | LOGIQ E
County Hospital | FREESTANDING MATERNITY BIRTHING UNIT | 2015-06-11 09:01 | 2022-06-11 09:01 | 33000 | 2109.28 | LOGIQ E
Royal Stoke University Hospital | Critical Care Unit - Pod 6 | 2015-07-06 | 2022-07-06 | 33000 | 2109.28 | LOGIQ E
Royal Stoke University Hospital | Hub Ultrasound Room 4 | 2015-07-06 | 2022-07-06 | 33000 | 2109.28 | LOGIQ E
Royal Stoke University Hospital | Maternity Theatre | 2009-01-01 | 2016-01-01 | 33000 | 2109.28 | LOGIQ E
Royal Stoke University Hospital | A&E Resus Dept | 2009-01-05 | 2016-01-05 | 30922.51 | 2109.28 | LOGIQ E
Royal Stoke University Hospital | Heart and Lung Clinic | 2009-07-15 | 2016-07-15 | 42894.99 | 2109.28 | VIVID Q ECHOCARDIOGRAPHY ULTRASOUND SYSTEM
Bradwell Hospital | Bradwell Hosp X-Ray | 2019-01-04 | 2026-01-04 | 45000 | 6679.38 | VOLUSON E8
Royal Stoke University Hospital | Maternity Ultrasound | 2017-06-30 | 2024-06-30 | 150000 | 6679.38 | VOLUSON E8
Bentilee Neighbourhood Centre | Bentilee Centre Close To Home Unit | 2019-01-04 | 2026-01-04 | 45000 | 6679.38 | VOLUSON E8
Royal Stoke University Hospital | Maternity Ultrasound | 2017-06-30 | 2024-06-30 | 150000 | 4218.55 | VOLUSON E8
Royal Stoke University Hospital | Heart and Lung Clinic | 2013-12-30 | 2020-12-30 | 130000 | 4602.06 | VIVID E9
Royal Stoke University Hospital | Theatres 30-32 Cardio Thoracic | 2015-07-14 | 2022-07-14 | 70000 | 4602.06 | VIVID E9
Royal Stoke University Hospital | Theatres 30-32 Cardio Thoracic | 2015-07-14 | 2022-07-14 | 70000 | 4602.06 | VIVID E9
Royal Stoke University Hospital | Cardiac Echo Room 2 | 2009-10-22 | 2016-10-22 | 114000 | 4602.06 | VIVID E9
Royal Stoke University Hospital | Heart and Lung Clinic | 2007-07-24 10:27 | 2014-07-24 10:27 | 47000 | 2109.28 | VIVID I DIMENSION
Royal Stoke University Hospital | PICU Ward 215 | 2010-05-27 | 2017-05-27 | 55019 | 2109.28 | VIVID I DIMENSION
Royal Stoke University Hospital | Ward 113 | 2016-02-05 | 2023-02-05 | 59352 | 2636.61 | ACUSON X300 ULTRASOUND SYSTEM
Royal Stoke University Hospital | Delivery Suite | 2007-02-14 10:36 | 2014-02-14 10:36 | 25500 | 2200 | ACUSON X300 ULTRASOUND SYSTEM
Royal Stoke University Hospital | Ward 233 | 2007-09-25 | 2014-09-25 | 59352 | 2200 | ACUSON X300 ULTRASOUND SYSTEM
Royal Stoke University Hospital | Interventional Theatre 1 | 2014-06-24 | 2021-06-24 | 50000 | 5736.14 | CX50 ULTRASOUND SYSTEM
Royal Stoke University Hospital | Heart and Lung Clinic | 2014-07-02 | 2021-07-02 | 59189 | 3643.3 | VIVID S6
Royal Stoke University Hospital | Heart and Lung Clinic | 2011-11-11 | 2018-11-11 | 50651.0043 | 3643.3 | VIVID S6
Royal Stoke University Hospital | Heart and Lung Clinic | 2014-07-02 | 2021-07-02 | 59189 | 3643.3 | VIVID S6
County Hospital | CARDIOLOGY OPD | 2010-05-18 | 2017-05-18 | 60000 | 3643.3 | VIVID S6
County Hospital | CARDIOLOGY SGH | 2010-09-17 | 2017-09-17 | 60000 | 4218.56 | VIVID S6
Royal Stoke University Hospital | Critical Care Unit | 2010-05-27 | 2017-05-27 | 59189 | 3643.31 | VIVID S6
Royal Stoke University Hospital | Hub Theatres 20-33 | 2010-09-27 | 2017-09-27 | 59189 | 3643.3 | VIVID S6
Royal Stoke University Hospital | A&E Resus Dept | 2016-09-05 | 2023-09-05 | 14870.75 | 0 | NANOMAXX L12000
Royal Stoke University Hospital | Ward 124 | 2016-12-15 | 2023-12-15 | 10400 | 0 | NANOMAXX L12000
Royal Stoke University Hospital | Cardiac Pacing Lab | 2010-06-02 | 2017-06-02 | 14870.75 | 0 | NANOMAXX L12000
Royal Stoke University Hospital | Central Discharge Lounge | 2011-07-05 | 2018-07-05 | 4439.33 | WARRANTY | VSCAN
Royal Stoke University Hospital | Cardio Cath Lab 3 | 2011-07-05 | 2018-07-05 | 4439.33 | WARRANTY | VSCAN
Royal Stoke University Hospital | Coronary Care Unit | 2011-07-05 | 2018-07-05 | 4439.33 | WARRANTY | VSCAN
Royal Stoke University Hospital | Heart and Lung Clinic | 2010-11-01 | 2017-11-01 | 36200 | 4947.72 | 38-8029 PATHFINDER ECG ANALYSER
Royal Stoke University Hospital | Heart and Lung Clinic | 2010-11-01 | 2017-11-01 | 36200 | 4947.72 | 38-8029 PATHFINDER ECG ANALYSER

## CT-Linac
| Location- Hospital Name or Site Name | Department equipment is primarily used in | Date of acquisition | Planned Replacement Date | Initial cost of Equipment | Annual Maintenance Cost
X-ray machines
MRI scanner
CT scanner b)Radiotherapy, | a)UHNM,The Cancer Centre | b)Radiotherapy | c)2009, | d)2020, | e)£300K + vat, | f)£80K +vat
PET scanner
SPECT scanner
Ultrasound scanner
Linac radiotherapy machines | a)UHNM,The Cancer Centre | b)Radiotherapy | c)2x2009, 2x2019 | d)2x2020, 2x 2019, | e)2x£1.2million=vat, 2x£1.4million+vat | f)2x£70K +vat, 2x£86k +vat • Holter Monitor • Dialysis machine